## Summary
Summary of Block Cost Estimate - Deoghar Bus Stand
Name of work: Preparation of DPR for Redevelopment/Renovation of Bus stand at Gumla in Jharkhand
Commercial Area
S.No. | Description of Items | Amount (Rs.) | Remarks
1 | Building works | 184142074.5917 |  | 1+2+3+4+5+6+7+8+9+10 | 1 | Building works | 159681331.256
2 | Road works | 1475600 |  | 35 | 2 | Road works | 37052362 | 40 l becauise of rate
3 | Footpath & Passenger movement area | 318800 |  | 32+34 | 3 | Footpath & Passenger movement area | 6695892
4 | Electrical works | 42019906.24 |  | 11+12+13+14+15+16+17 | 4 | Electrical works | 31948658.136 | because of reduced builduing area
5 | Services works (Drainage, Water Tanks & Street lights etc) | 23296233.2 |  | 18+19+20+21+22+23+24+25+26+27+28+29+37+38 | 5 | Services works (Drainage, Water Tanks & Street lights etc) | 21638625
6 | Boundary wall & Gate | 2433180 |  | 36 | 6 | Boundary wall & Gate | 5937600
7 | Parking Area | 218835 |  | 33 | 7 | Parking Area | 369600 | rate difference
| Sub Total | 253904629.0317
| Project Contingencies @ 3% on Total | 7617138.871
| Total Cost of Work (A) | 261521767.9027
Other General Charges
| Utilities shifting | 2500000
| Total of Other General Charges (B) | 2500000
| Total Project Cost (A+B) in Rs. | 264021767.9027
| Say | 26.4022 | crore
| Total cost for building G+2 |  | crore
| Total cost for 2nd Floor only |  | crore

## Final
Abstract of Cost for Modified Concept -Deoghar Bus Stand
Commercial Area
S.No. | Item no. | Description | Unit | Quantity | Rate | Amount (Rs.) | Remarks
A | Items as per PAR 2012
1 | 1.1 | RCC framed structure upto six storey's constructions Floor height 3.35 meter.
2 | 1.1.1(A) | For double storey structure | sqm | 4420 | 23500 | 103870000
3 | 1.1.1(B) | For single storey structure | sqm | 0 | 14250 | 0
4 | 1.2.1 | Every additional storey over six storeys upto nine storey | sqm | 0 | 560 | 0
5 | 1.2.3 | Extra for every 0.3m additional height over normal height 3.35 m | sqm | 0 | 270 | 0
6 | 1.2.8 | Resisting earth quake forces | sqm | 6366 | 1140 | 7257240
7 | 1.2.6 | Making stronger foundations to take load of one additional floor at a later date (on area of additional floor only) | sqm | 1105 | 2270 | 2508350
8 | 1.2.11 | Stronger structure for loading of above 500kg/sqm | sqm | 0 | 1500 | 0
9 | 1.4.2 | Fire Fighting works (wet riser system) & Sprinkler system | sqm | 6366 | 750 | 4774500
10 | 1.5.2 | Automatic Fire alarm system | sqm | 6366 | 500 | 3183000
11 | 1.3.1 | Basement floor-3.35 m height. | sqm | 1946 | 19000 | 36974000
12 | 1.3.2.1 | Extra for every 0.3m additional height over normal height 3.35 m- Basement | sqm | 4216.3333 | 2320 | 9781893.3333
| SUB Total (A) |  |  |  |  | 168348983.3333
B | Services as per PAR 2012
13 | 3.1 | Internal water supply & Sanitary Installations @ 4% |  |  |  | 6733959.3333
14 | 3.2 | External service connection @5% |  |  |  | 8417449.1667
15 | 3.3 | Internal Electrical Installation @12.5% |  |  |  | 21043622.9167
16 | 3.6.1 | Power wiring & plug @4% |  |  |  | 6733959.3333
17 | 3.6.2 | Central call bell system@1% |  |  |  | 1683489.8333
18 | 3.6.3.1 | Lighting Conductor@0.5% |  |  |  | 841744.9167
19 | 3.6.4 | Telephone conduits @0.5% |  |  |  | 841744.9167
20 | 3.6.6 | Computer conduiting @0.5% |  |  |  | 841744.9167
| SUB TOTAL (B ) |  |  |  |  | 47137715.3333
C | Miscellaneous
21 | 5.1 | Over Head Water Tank (RCC only) @Rs 15/ltr | ltr | 6000 | 15 | 90000
22 | 5.5 | Underground sump | ltr | 12000 | 15 | 180000
23 | 6 | Development of site
24 | 6.1 | levelling | sqm | 2043 | 95 | 194085
25 | 6.3 | Sewer @ Rs 110/sqm | sqm | 2043 | 110 | 224730
26 | 6.4.1 | Filter Water Supply, Distribution lines 100 mm dia and below @ Rs 80/sqm | sqm | 2043 | 80 | 163440
27 | 6.4.2 | Peripherial grid 150x300 mm dia pipes | sqm | 2043 | 60 | 122580
28 | 6.4.3 | Unfiltered water supply distribution lines @Rs 45/sqm | sqm | 2043 | 45 | 91935
29 | 6.6 | Horticulture operation | sqm | 2043 | 80 | 163440
30 | 6.5 | Storm water drains @ Rs 85/sqm | sqm | 2043 | 85 | 173655
31 | 6.7.2 | Street lighting With HPMV Lamps @130/sqm | sqm | 2043 | 130 | 265590
32 |  | LIFTS- 16 Persons | No. | 2 | 7000000 | 14000000
| SUB Total (C) |  |  |  |  | 15669455
| SUB Total (A+B+C) |  |  |  |  | 231156153.6667
| Add 2% on PAR Items |  |  |  |  | 4623123.0733
| Total (1) |  |  |  |  | 235779276.74
D | Items as per DSR
34 | DSR 10.28 | S.S. frame work for truss and framed structure 137m²x23.868kg/m²= Into KG Cost of Pergola | kg | 3269.916 | 472.4 | 1544708.3184
35 | DSR 26.3 | Aluminum metal coated roofing including glass 137m² in total area | sqm | 137 | 3730.7 | 511105.9
| SUB Total (2) |  |  |  |  | 2055814.2184
|  |  | Total (2) |  |  | 2055814.2184
|  |  | Total of (1) + (2) |  |  | 237835090.9584
E | Items as per DSR/JSOR
36 | R.A | P/L coloured paver blocks | sqm | 150 | 1375.5 | 206325 | Annexure I
37 | R.A | Constn, of Parking area- scooter rikshas. | sqm | 135 | 1621 | 218835 | Annexure II
38 | As per SOR | P/F CC Kerbs & Channels | M | 275 | 409 | 112475 | Rate as per SOR(Road Construction Department) item no. 8.2A
39 | As per SOR | Costn. of Bituminious road. | Sqm | 476 | 3100 | 1475600 | Annexure III
40 | As per SOR | Boundary Wall & Gate (D) |  |  |  | 2433180 | Annexure IV
| SUB Total (3) |  |  |  |  | 4446415
F | Items as per Market Rate
41 | M. R | Provision for Kiosks, Benches, CCTV, PI & PA system - LS | L/s |  |  | 3000000
42 | M. R | STP LS |  |  |  | 4000000
| SUB Total (4) |  |  |  |  | 7000000
| SUB TOTAL (1+2+3+4) |  |  |  |  | 249281505.9584

## S.no 32_Paver Blocks
Annexure I
P/L 60mm coloured paver blocks
S. No. | Item | Unit | Nos. | Measurements. |  |  | Qty. | Rate | Amount | Remarks.
|  |  |  | L | B | H
1 | PCC - M-15 | cum. | 1 | 1 | 1 | 0.15 | 0.15 | 4109 | 616.35 | SOR 12.8
2 | P/L coloured paver blocks | sqm | 1 | 1 | 1 | 1 | 1 | 756.15 | 756.15 | DSR 2016, ITEM NO. 16.91,
1372.5
[8 empty] | Say | 1375.5 | per sqm

## S.no 33_ Parking area
Annexure II
S. No. | Item | Unit | Nos. | Measurements. |  |  | Qty. | Rate | Amount | SOR Item no.
|  |  |  | L | B | H
Details for 1000x3.6M
1 | Earthwork in excavation for road | cum. | 1 | 1000 | 3.6 | 0.45 | 1620 | 130 | 210600 | 3.3
2 | Making Sub grade | cum. | 1 | 1000 | 3.6 | 0 | 0 | 445 | 0 | 4.3
2 | P/L/spreading GSB | cum. | 1 | 1000 | 3.6 | 0.15 | 540 | 1422 | 767880 | 4.1
4 | P/L WMM | cum. | 1 | 1000 | 3.6 | 0 | 0 | 1290 | 0 | 4.12
3 | Constn. Of D.L.C, | cum. | 1 | 1000 | 3.6 | 0.1 | 360 | 2238 | 805680 | 6.1
6 | Rolled cement cocrete base | cum. | 1 | 1000 | 3.6 | 0 | 0 | 2609 | 0 | 6.3
4 | C.C. pavement | cum. | 1 | 1000 | 3.6 | 0.2 | 720 | 4754 | 3422880 | 6.2
5 | Carriage of earth by M.T. lead-5Km. | cum |  |  |  |  | 1620 | 215.77 | 349547.4 | 1.2
| Total | [7 empty] | 5556587.4
| Add5% extra for miscl. Items. | [7 empty] | 277829.37
| Total cost for 3600 Sqm. | [7 empty] | 5834416.77
| Cost per Sqm | [7 empty] | 1620.6713
[8 empty] | Say Rs. | 1621 | per sqm

## S.no34_Kerb Channel (hidden)
Road 8.2 | 408 |  | Cast in Situ Cement Concrete M 20 Kerb with Channel
Construction of cement concrete kerb with channel with top and bottom width 115 and 165 mm respectively, 250 mm high in M 20 grade PCC on M10 grade foundation 150 mm thick, kerb channel 300 mm wide, 50 mm thick in PCCM20 grade, sloped towards the kerb, kerb stone with channel laid with kerb laying machine, foundation concrete laid manually, all complete as per clause 408
|  | A | Using Concrete Mixer
Unit = Running metre
Taking output = 300 metre length
Cement Concrete
Cement concrete of grade M20= 17.48 cum
Cement concrete of grade M10 for base = 23.18 cum
Total Concrete = 40.66 cum
a) Labour
|  |  | Mate | day | 0.72 | 185.07 | 133.2504 | L-12
|  |  | Mason | day | 2 | 234.29 | 468.58 | L-11
|  |  | Mazdoor | day | 16 | 177.07 | 2833.12 | L-13
b) Machinery
|  |  | Kerb casting machine @ 50 metres/hour for laying kerb and channel | hour | 6 | 279.72 | 1678.32 | P&M-029
|  |  | Concrete mixer 0.48/0.28 | hour | 16 | 211.68 | 3386.88 | P&M-009
|  |  | Water tanker6 KL capacity | hour | 6 | 111.24 | 667.44 | P&M-060
c) Material
|  |  | Crushed stone aggregate 20 mm nominal size 60 per cent | cum | 36.59 | 862.502 | 31558.9482 | M-053
|  |  | Coarse sand 30 per cent | cum | 18.3 | 203.7544 | 3728.7053 | M-005
|  |  | Cement 10 per cent | tonne | 9.01 | 5789.4737 | 52163.1579 | M-081
|  |  | Cost of water | KL | 36 | 167.0682 | 6014.456 | M-189
|  |  | d) Overhead charges @ 0.1 on (a+b+c) |  |  |  | 10263.2858
|  |  | e) Contractor's profit @ 0.1 on (a+b+c+d) |  |  |  | 11289.6144
|  |  | Cost for 300 metre = a+b+c+d+e |  |  |  | 124185.7579
|  |  | Rate per metre = (a+b+c+d+e)/300 |  |  |  | 413.9525
[6 empty] | say | 414

## Bituminious Road
Annexure III
Cosntn. Of bituminous road (Only pavement.)- Rates - Road Constn. Deptt. , Jharkhand.
| Item | Unit | No. | L | B | H | Qty. | Rate | Amount | SOR Item no.
Details for 1000x3.6M
1 | Earthwork in excavation for road | cum. | 1 | 1000 | 3.6 | 1.18 | 4248 | 130 | 552240 | 3.3
2 | Making Sub grade | cum. | 1 | 1000 | 3.6 | 0.5 | 1800 | 444 | 799200 | 4.3A
3 | P/L/spreading GSB | cum. | 1 | 1000 | 3.6 | 0.23 | 828 | 1422 | 1177416 | 4.1(i)
4 | P/L WMM | cum. | 1 | 1000 | 3.6 | 0.25 | 900 | 1382 | 1243800 | 4.12
5 | P/L primer coat | sqm. | 1 | 1000 | 3.6 |  | 3600 | 29 | 104400 | 5.1
6 | P/L Tack Coat | sqm. | 2 | 1000 | 3.6 |  | 7200 | 10 | 72000 | 5.2
7 | Dense Bituminous Macadam | cum. | 1 | 1000 | 3.6 | 0.13 | 468 | 6796 | 3180528 | 5.6 A
8 | Bituminous concrete | cum. | 1 | 1000 | 3.6 | 0.05 | 180 | 7571 | 1362780 | 5.8(ii)
9 | 25 MM Mastic asphalt | sqm. | 1 | 1000 | 3.6 |  | 3600 | 491.75 | 1770300 | DSR 16.37.1, DSR 2016
10 | Carriage of earth by M.T. lead-5Km. | cum |  |  |  |  | 3610.8 | 215.77 | 779102.316 | 1.2
| Total cost for 1000x3.6=3600 Sqm. | [7 empty] | 11041766.316
| Cost per Sqm | [7 empty] | 3067.1573
[8 empty] | Say Rs. | 3100 | Per Sqm.

## BW
Annexure IV -A
ANALYSIS OF RATE FOR CONSTRUCTION OF B.M. BOUNDARY WALL
|  | Considered Length of Boundary wall | 100 | m
|  | No. of Column / footing @ 3m c/c | 34 | Nos.
Rate- S.O.R. 2015. , Bldg. Constn. Deptt., Govt. Of Jharkhand.
S.no | SOR Item | Particular | Unit | No | L | B | H | Qty | Rate | Amount
1 | 5.1.1Bldg. | Earth work in excavation.
|  | Footing F1 | Cum. | 34 | 1.5 | 1.5 | 1.5 | 114.75 | 102.1 | 11715.975
|  | Footing F2 | Cum. | 4 | 1.8 | 1.8 | 1.5 | 19.44 | 102.1 | 1984.824
|  | For Brick work below plinth beam | Cum. | 1 | 100 | 0.43 | 0.6 | 25.8 | 102.1 | 2634.18
2 | 5.3.2 Bldg. | P/L PCC- M-150 in foundation | cum | 34 | 1.4 | 1.4 | 0.1 | 6.664
|  | Bed under columns | cum | 4 | 1.7 | 1.7 | 0.1 | 1.156
|  | Bed under wall panels | cum | 1 | 100 | 0.63 | 0.1 | 6.3
|  | Total | [5 empty] | 14.12 | 5913.66 | 83500.8792
3 | 5.2.2. | B W 75A-1:4 in foundation- 1st.step
| Bldg. | 2nd step | cum | 1 | 100 | 0.23 | 0.6 | 13.8
|  | Total | [5 empty] | 13.8 | 4175 | 57615
4 | 5.3.14-Bldg. | RCC M-200 in columns- below G.L.-1st. Step. | cum. | 34.3333 | 1.2 | 1.2 | 0.3 | 14.832
|  |  | cum. | 4.3333 | 1.5 | 1.5 | 0.3 | 2.925
|  |  | cum. | 43 | 0.23 | 0.23 | 3.3 | 6.75
|  |  | cum. | 1 | 100 | 0.23 | 0.23 | 2.4794
|  |  | cum. | 1 | 100 | 0.23 | 0.175 | 1.8865
[8 empty] | 28.873 | 7647.84 | 220815.9352
4 | 5.3.8.1-Bldg. | RCC M-200 in beam- under DPC | cum. | 1 | 100 | 0.23 | 0.23 | 5.29 | 8065.453 | 42666.2464
5 |  | P/L DPC 50 MM thick | sqm | 1 | 100 | 0.23 |  | 23 | 346.96 | 7980.08
6 | 5.2.10 | Bw 75A-1:4 in Superstructure | cum. | 1 | 92.18 | 0.23 | 2.5 | 53.0035 | 4264.99 | 226059.3975
Bldg.
7 | 5.7.2 Bldg. | Cement plaster 1:4 12 MM | sqm | 1 | 92.2 |  | 2.5 | 230.5 | 137.07 | 31594.635
8 | 5.7.12 Bldg. | Cement plaster 1:4 25 MM | sqm | 1 | 92.2 |  | 2.5 | 230.5 | 214.12 | 49354.66
9 | 5.3.8.1 | P/L R CC in coping-M 200 | cum. | 1 | 100 | 0.33 | 0.0625 | 2.0625 | 8065.45 | 16634.9906
Total
10 | 5.5.5 | Tore steel reinforcement | Kg. | 80 | 34.163 |  |  | 2733.0384 | 53.4339 | 146036.93
| Bldg. | L.S @80 Kg. per cum RCC
11 | 5.5.12-Bldg. | S/F M.S. angle posts50x50x6 MM -4.5 Kg. / M | Kg. | 34 | 1.84 |  | 4.5 | 281.52 | 57.69 | 16240.8888
12 | 16.53-DSR 2014 | P/F Concertina wire fencing 610 mm dia. | M | 1 | 100 |  |  | 100 | 255 | 25500
13 | 5.1.8- Bldg. | Filling available excavated earth.
|  | Total excavation-item-1 | cum |  |  |  | 159.99
|  | less PCC-item 2 | cum |  |  |  | 14.12
|  | Less BW in foundation item3 | cum |  |  |  | 13.8
|  | less Qty. of columns upto GL | cum |  |  |  | 3.66
|  | less Qty. of plinth beam item4 | cum |  |  |  | 2.4794
|  | Total deduction |  |  |  |  | 34.0594
|  | Net Qty. of Filling |  |  |  |  | 125.9306 | 125.9306 | 86.67 | 10914.4031
14 | III-2 | carriage of earth by M.T. | cum |  |  |  |  | -11.1806 | 215.77 | 2412.4331
Lead of 5 Km
15 | 5.8.24 | Snowcem on new work | sqm | 2 | 100 |  | 2.5 | 500 | 81.14 | 40570
16 | 5.8.41 | Providing primer on steelwork | sqm | 34 | 1.84 | 0.2 |  | 12.512 | 41.89 | 524.1277
Bldg.
17 | 5.8.43 | Painting two coats of synthetic paint on steelwork | sqm | 34 | 1.46 | 0.2 |  | 9.928 | 56.85 | 564.4068
|  | Total | [7 empty] | 995319.9924
|  | Add L.S.5% extra for Miscl. | [7 empty] | 49765.9996
| Bldg. | Total cost for 100m length | [7 empty] | 1045085.992
|  | Cost per M length | [7 empty] | 10450.8599
[9 empty] | say Rs. | 10451
Per M

## Sheet1 (hidden)
Abstract of Cost for Modified Concept
S.No. | Item no. | Description | Unit | Quantity | Rate | Amount (Rs.) | Remarks
A | Items as per PAR 2012
1 | 1.1 | RCC framed structure upto six storey's constructions Floor height 3.35 meter.
2 | 1.1.1(A) | For double storey structure | sqm | 2256 | 23500 | 53025400
3 | 1.1.1(B) | For single storey structure | sqm | 1060 | 14250 | 15109133
4 | 1.2.3 | Extra for every 0.3m additional height over normal height 3.35 m | sqm | 9964 | 270 | 2690280
5 | 1.2.8 | Resisting earth quake forces | sqm | 3317 | 1140 | 3781027
6 | 1.2.6 | Making stronger foundations to take load of one additional floor at a later date (on area of additional floor only) | sqm | 2188 | 2270 | 4967418
7 | 1.2.11 | Stronger structure for loading of above 500kg/sqm | sqm | 2188 | 1500 | 3282435 |  | 92326332
8 | 1.4.2 | Fire Fighting works (wet riser system) & Sprinkler system | sqm | 3317 | 750 | 2487518 |  | 67355000
9 | 1.5.2 | Automatic Fire alarm system | sqm | 3317 | 500 | 1658345 |  | 159681332
10 | R.A | P/L coloured paver blocks | sqm | 4667 | 1350 | 6300936
11 | R.A | Constn, of Parking area- scooter rikshas. | sqm | 220 | 1680 | 369600 |  | 6695892
12 | Rd.Works 8.2/132 | P/F CC Kerbs & Channels | M | 954 | 414 | 394956
13 | As per SOR | Costn. Of Bituminious road. | Sqm | 8928 | 4150 | 37052362
14 | M. R | Provision for Kiosks, Benches, CCTV, PI & PA system - LS | L/s |  |  | 2000000
| SUB Total (A) |  |  |  |  | 133119409
B | Services
15 | 3.1 | Internal water supply & Sanitary Installations @ 4% |  |  |  | 5324776
16 | 3.2 | External service connection @5% |  |  |  | 6655970
17 | 3.3 | Internal Electrical Installation @12.5% |  |  |  | 16639926
18 | 3.6.1 | Power wiring & plug @4% |  |  |  | 5324776
19 | 3.6.2 | Central call bell system@1% |  |  |  | 1331194
20 | 3.6.3.1 | Lighting Conductor@0.5% |  |  |  | 665597
21 | 3.6.4 | Telephone conduits @0.5% |  |  |  | 665597
22 | 3.6.6 | Computer conduiting @0.5% |  |  |  | 665597
| SUB TOTAL (B ) |  |  |  |  | 37273434
C
23 | 5.1 | Water Tank (RCC only) Underground Sump @Rs 15/ltr a) Fire Fighting @ 100,000 Ltr. b) ETP @ 50,000 Ltr. | ltr | 100000 | 15 | 1500000
24 | 5.5 | Underground sump | ltr | 100000 | 15 | 1500000
25 | 6 | Development of site
26 | 6.1 | levelling | sqm | 13925 | 95 | 1322875
27 | 6.3 | Sewer @ Rs 110/sqm | sqm | 13925 | 110 | 1531750
28 | 6.4.1 | Filter Water Supply, Distribution lines 100 mm dia and below @ Rs 80/sqm | sqm | 13925 | 80 | 1114000
29 | 6.4.2 | Peripherial grid 150x300 mm dia pipes | sqm | 13925 | 60 | 835500
30 | 6.4.3 | Unfiltered water supply distribution lines @Rs 45/sqm | sqm | 13925 | 45 | 626625
31 | 6.6 | Horticulture operation | sqm | 13925 | 80 | 1114000
32 | 6.5 | Storm water drains @ Rs 85/sqm | sqm | 13925 | 85 | 1183625
33 | 6.7.2 | Street lighting With HPMV Lamps @130/sqm | sqm | 13925 | 130 | 1810250
34 |  | ETP for Workshop LS |  |  |  | 1500000
34-B |  | LIFTS- 16 Persons | No. | 2 | 2800000 | 5600000
| SUB Total (C) |  |  |  |  | 19638625
35 | As per SOR | Boundary Wall & Gate (D) |  |  |  | 5937600 | Annexure-A
36 | 1.1.1(B) | Pergola |  |  |  | 6,73,55,000 | Annexure-B
| SUB TOTAL (A+B+C+D) |  |  |  |  | 263324068
14042562.0416

## ann IV BW gate
Annexure IV
Gate & Boundary wall detail
S No. | Description | Unit | Qty | Rate | Amount
1 | Boundary wall | mtr | 180 | 10451 | 1881180 | Refer Annexure IV-A
2 | Entry & Exit Gates | each | 2 | 276000 | 552000 | Refer Annexure IV-B
|  | SUB TOTAL (D) |  |  | 2433180

## Gate
Annexure IV -B
Rate Analysis for fixing of MS Swing Gate (Manually Operated)
Based on rates of S.R -Bldg. Deptt. Jharkhand.
S.no | DSR Item | Description | Unit | No | No | L | B | H | Qty | Rate | Amount
1 | 5,5,28 | Supply, Providing ,Fabricating, Assembling and erecting at site M.S Gate……………….. | Kg
Swing Gate
MS Gate (4.5m+4.5m) x 2.5 m
100 x 50 x 3 mm Tube
|  | Horrizontal |  | 2 | 2 | 4.5 |  |  | 18
|  | Vertical |  | 2 | 2 | 2.5 |  |  | 10
| Total mt. | [7 empty] | 28
| v) Weight in Kg. @ 6.6 Kg. /Sq.m. | [7 empty] | 184.8
|  | 80 x 40 x 2.6 mm Tube |  | 2 | 3 | 4.4 |  |  | 26.4
|  |  |  | 2 | 8 | 0.385 |  |  | 6.16
| Total mt. | [7 empty] | 32.56
| vi) Weight in Kg. @ 4.55Kg. /Sq.m. | [7 empty] | 148.148
50 x 50 x 2.6 mm Tube
|  | upper portion |  | 2 | 32 | 0.78 |  |  | 49.92
|  | bottom portion |  | 2 | 32 | 0.78 |  |  | 49.92
| Total mt. | [7 empty] | 99.84
| vii) Weight in Kg. @ 3.74 Kg. /Sq.m. | [7 empty] | 373.4016
|  | MS sheet 2mm thick |  | 2 | 2 | 0.88 | 4.5 |  | 15.84
| Total mt. | [7 empty] | 15.84
| viii) Weight in Kg. @ 15.70Kg. /Sq.m. | [7 empty] | 248.688
|  | Base plate 12mm thick below ISMB |  | 12 | 1 | 0.2 | 0.1 |  | 0.24
| Total mt. | [7 empty] | 0.24
| ix) Weight in Kg. @ 78.50Kg. /Sq.m. | [7 empty] | 22.608
|  | ISMB 125*75 |  | 1 | 1 | 15 |  |  | 15
| Total mt. | [7 empty] | 15
| ix) Weight in Kg. @ 13.00Kg. /m. | [7 empty] | 195
|  | ISMC 100*50 for swing gate |  | 1 | 2 | 2.5 |  |  | 5
|  | For guide wheel |  | 1 | 1 | 0.45 |  |  | 0.45
| Total mt. | [7 empty] | 5.45
| x) Weight in Kg. @ 9.2Kg. /m. | [7 empty] | 50.14
|  | Tube 100*50*3mmthick for support of guide wheel |  | 2 | 2 | 2.816 |  |  | 11.264
|  | Top |  | 2 | 1 | 0.4 |  |  | 0.8
| Total mt. | [7 empty] | 12.064
| xi) Weight in Kg. @ 6.6 Kg. /Rm | [7 empty] | 79.6224
50*50*6 mm T & angle
|  | below gate |  | 1 | 2 | 6 |  |  | 12
|  |  |  | 2 | 20 | 0.125 |  |  | 5
17
|  |  |  | vii) Weight in Kg. @ 4.5Kg. /m. |  |  |  |  | 76.5
|  | Total Weight of Swing Gate | [6 empty] | 1378.908
Wicket gate
|  | 100*50*3mm tube |  | 1 | 2 | 1.08 |  |  | 2.16
|  |  |  | 1 | 2 | 2.5 |  |  | 5
| Total mt. | [7 empty] | 7.16
| x) Weight in Kg. @ 6.6Kg. /Sq.m. | [7 empty] | 47.256
|  | 80 x 40 x 2.6 mm Tube |  | 1 | 3 | 0.98 |  |  | 2.94
|  |  |  | 1 | 2 | 0.38 |  |  | 0.76
| Total mt. | [7 empty] | 3.7
| xi) Weight in Kg. @ 4.55Kg. /Sq.m. | [7 empty] | 16.835
|  | 50 x 50 x 2.6 mm Tube |  | 1 | 12 | 0.767 |  |  | 9.204
| Total mt. | [7 empty] | 9.204
| xii) Weight in Kg. @ 3.74 Kg. /Sq.m. | [7 empty] | 34.423
|  | MS sheet 2mm thick |  | 1 | 2 | 0.87 | 1.08 |  | 1.8792
| Total mt. | [7 empty] | 1.8792
| xiii) Weight in Kg. @ 15.70Kg. /Sq.m. | [7 empty] | 29.5034
|  | Base plate 12mm thick below ISMC |  | 1 | 2 | 0.2 | 0.1 |  | 0.04
| Total sq.m.. | [7 empty] | 0.04
| xiv) Weight in Kg. @ 78.50Kg. /Sq.m. | [7 empty] | 3.768
|  | 16mm dia bar |  | 1 | 1 | 16 |  |  | 16
|  | Round bar 16mm for tower bolt |  | 4 | 1 | 0.9 |  |  | 3.6
| Total mt. | [7 empty] | 19.6
| xvi) Weight in Kg. @ 1.58Kg. /mt. | [7 empty] | 30.968
|  | 25mm dia for sliding door bolt |  | 4 | 1 | 0.45 |  |  | 1.8
| Total mt. | [7 empty] | 1.8
| xvi) Weight in Kg. @ 3.856Kg. /mt. | [7 empty] | 6.9408
|  | Flat 40x5 for kundi |  | 4 | 1 | 0.3 |  |  | 1.2
|  | Wicket gate Flat 40x5 for kundi |  | 2 | 1 | 0.1 |  |  | 0.2
|  | Flat 40x5 for for tower bolt |  | 4 | 1 | 0.1 |  |  | 0.4
| Total mt. | [7 empty] | 1.8
| xviii) Weight in Kg. @ 3.5Kg. /mt. | [7 empty] | 6.3
|  | ISMC 100*50 for wicket gate |  | 1 | 2 | 2.5 |  |  | 5
[7 empty] | Total mt. |  | 5
|  |  |  | vii) Weight in Kg. @ 9.2Kg. /m. |  |  |  |  | 46
|  | Total Weight of Wicket Gate | [6 empty] | 221.9942
|  | Total Weight Swing Gate with Wicket Gate | [6 empty] | 1600.9022 | 141.04 | 225791.2463
For Cloumn 600 x600 x 2.5
5 | 4.1.8 | PCC in foundation-M15 | cum | 2 | 1 | 1.75 | 1.75 | 0.2 | 1.225
[8 empty] | Say | 1.5 | 4478.15 | 6717.225
6 | 5.22.6 | Reinforcement @100 kg/cum | [6 empty] | 350 | 56.6 | 19810
7 | 5.33 | RCC -M-25
|  | Columns |  | 2 | 1 | 0.6 | 0.6 | 3.5 | 2.52
|  | Footing |  | 2 | 1 | 1.5 | 1.5 | 0.2 | 0.9
[7 empty] | Total |  | 3.42
[7 empty] | Say |  | 3.5 | 6446.45 | 22562.575
[7 empty] | Total |  |  |  | 274881.0463
[10 empty] | say | 276000